## By marz
Location (marz) | Marz (hy) | Transformers TP 10(6)/0.4 kV | Houses (ENA customers) | Houses per TP | LV 0.4 kV length, km | Avg LV length per TP, km | PV autonomous MW — est. A (pro rata customers) | PV autonomous MW — est. B (pro rata OSM solar objects) | OSM solar objects (count, incomplete) | Basis
Yerevan | Երևան | 2580 | 414332 | 161 | 4470 | 1.73 | 233.6 | 66.4 | 649 | Houses: official. TP: estimate (share in PSRC voltage DB × 9,975). LV km: TP × 1.73. PV by marz is NOT published: A and B are two estimates — treat as a range.
Kotayk | Կոտայք | 978 | 122413 | 125 | 1694 | 1.73 | 69 | 90.5 | 884 | Houses: official. TP: estimate (share in PSRC voltage DB × 9,975). LV km: TP × 1.73. PV by marz is NOT published: A and B are two estimates — treat as a range.
Lori | Լոռի | 936 | 102094 | 109 | 1621 | 1.73 | 57.6 | 1.3 | 13 | Houses: official. TP: estimate (share in PSRC voltage DB × 9,975). LV km: TP × 1.73. PV by marz is NOT published: A and B are two estimates — treat as a range.
Shirak | Շիրակ | 1082 | 88402 | 82 | 1874 | 1.73 | 49.8 | 8.9 | 87 | Houses: official. TP: estimate (share in PSRC voltage DB × 9,975). LV km: TP × 1.73. PV by marz is NOT published: A and B are two estimates — treat as a range.
Ararat | Արարատ | 843 | 87832 | 104 | 1460 | 1.73 | 49.5 | 130.1 | 1271 | Houses: official. TP: estimate (share in PSRC voltage DB × 9,975). LV km: TP × 1.73. PV by marz is NOT published: A and B are two estimates — treat as a range.
Armavir | Արմավիր | 893 | 85588 | 96 | 1547 | 1.73 | 48.2 | 124.7 | 1218 | Houses: official. TP: estimate (share in PSRC voltage DB × 9,975). LV km: TP × 1.73. PV by marz is NOT published: A and B are two estimates — treat as a range.
Gegharkunik | Գեղարքունիք | 722 | 68002 | 94 | 1251 | 1.73 | 38.3 | 77.9 | 761 | Houses: official. TP: estimate (share in PSRC voltage DB × 9,975). LV km: TP × 1.73. PV by marz is NOT published: A and B are two estimates — treat as a range.
Syunik | Սյունիք | 504 | 50410 | 100 | 873 | 1.73 | 28.4 | 0 | 0 | Houses: official. TP: estimate (share in PSRC voltage DB × 9,975). LV km: TP × 1.73. PV by marz is NOT published: A and B are two estimates — treat as a range.
Tavush | Տավուշ | 497 | 49559 | 100 | 861 | 1.73 | 27.9 | 1.1 | 11 | Houses: official. TP: estimate (share in PSRC voltage DB × 9,975). LV km: TP × 1.73. PV by marz is NOT published: A and B are two estimates — treat as a range.
Aragatsotn | Արագածոտն | 641 | 46420 | 72 | 1110 | 1.73 | 26.2 | 139.1 | 1359 | Houses: official. TP: estimate (share in PSRC voltage DB × 9,975). LV km: TP × 1.73. PV by marz is NOT published: A and B are two estimates — treat as a range.
Vayots Dzor | Վայոց ձոր | 298 | 20485 | 69 | 516 | 1.73 | 11.5 | 0.1 | 1 | Houses: official. TP: estimate (share in PSRC voltage DB × 9,975). LV km: TP × 1.73. PV by marz is NOT published: A and B are two estimates — treat as a range.
ARMENIA (ENA total) | ՀՀ | 9975 | 1135537 | 114 | 17280 | 1.73 | 640.1 | 640.1 | 6254 | All official (PSRC 2025); OSM total = mapped objects only
Total PV in ENA network incl. industrial (ENA, 03.09.2026): ~59,000 objects, ~1,288 MW (of which ~58,700 autonomous / ~750 MW; industrial 539 MW). PV by marz is NOT published — the PV columns above are a pro-rata estimate by number of customers.
OSM snapshot 2026-09-26 (ODbL): 6,254 solar generators mapped in Armenia; coverage is uneven (Shirak 87, Lori 13, Syunik 0 are clearly under-mapped), so B over-weights Ararat valley and under-weights the north and south.

## Method & sources
Item | Value | Source
ENA customers, by marz | 1,135,537 (Q4 2025) | PSRC, service quality indicators: interruptions summary 2025 Q4 (ampop-2025_4.xlsx)
Transformers 10(6)/0.4 kV | 9,975 (Q3 2025) | PSRC, reliability summary 2025 (Ամփոփ հավելված 8-2025)
0.4 kV lines | 14,386.7 km overhead + 2,893.6 km cable = 17,280 km | PSRC, reliability summary 2025, Q3
TP by marz | estimate: share of TPs per marz in PSRC voltage-deviation DB Dec 2025 (8,545 TPs) scaled to 9,975 | PSRC Հավելված 3, Dec 2025
LV km by marz | estimate: TP × 1.73 km (national average); real lengths are with ENA
PV autonomous | 640.1 MW, 50,059 sites (end 2025) | PSRC annual report 2025
PV by marz | estimate: pro rata by customers (0.56 kW per customer); not published
PV total in ENA network | ~1,288 MW / ~59,000 objects (Sept 2026) | Armenpress 1259636 (ENA temporary manager, 03.09.2026)
Correction 03.10 23:30 | Customers per feeder = sum over nominal-voltage groups (0.4 / 0.2 kV) of the PSRC customer count; affected = per-group max, summed | Earlier version took the last row group only (e.g. Տ4440-1: 40 instead of 387). data/09_gapfill/feeder_list_for_calc.py

## Problem feeders (PSRC)
Marz | Branch | Settlement | TP | Feeder | Customers | Type | Jun 9-13h >+10%, h/month | Dec 1-8h >+10%, h/month | Dec 19-24h <-10%, h/month | Customers affected (max)
Kotayk | Գեղամա | ք.Հրազդան | Տ4440-1 | 18901050 | 387 | tap | 150 | 248 | 0 | 387
Shirak | Ղարս | ք.Գյումրի | Տ6492-1 | 292050042 | 374 | tap | 150 | 248 | 0 | 373
Yerevan | Հյուսիս | ք.Երևան | Տ0137-1 | 51250901111 | 347 | overload | 0 | 0 | 186 | 347
Shirak | Ղարս | ք.Գյումրի | Տ4661-1 | 292406042 | 334 | solar | 150 | 0 | 0 | 333
Yerevan | Արևմուտք | ք.Երևան | Տ7523-1 | 473102005 | 329 | solar | 150 | 0 | 0 | 329
Kotayk | Գեղամա | ք.Հրազդան | Տ4385-1 | 18852050 | 312 | tap | 150 | 248 | 0 | 312
Shirak | Ղարս | ք.Գյումրի | Տ2804-1 | 291969042 | 264 | tap | 150 | 248 | 0 | 264
Kotayk | Գեղամա | ք.Հրազդան | Տ4440-1 | 18884050 | 252 | tap | 150 | 248 | 0 | 251
Kotayk | Գեղամա | ք.Հրազդան | Տ4481-1 | 18787050 | 250 | tap | 150 | 248 | 0 | 250
Shirak | Ղարս | ք.Գյումրի | Տ2220-1 | 292170042 | 248 | solar | 150 | 0 | 0 | 248
Kotayk | Գեղամա | ք.Հրազդան | Տ4488-1 | 18800050 | 271 | tap | 0 | 248 | 0 | 230
Kotayk | Գեղամա | ք.Հրազդան | Տ5758-1 | 181011050 | 228 | tap | 0 | 248 | 0 | 228
Yerevan | Արևմուտք | ք.Երևան | Տ0824-2 | 461914007 | 227 | solar | 150 | 0 | 0 | 227
Shirak | Ղարս | ք.Գյումրի | Տ4976-1 | 292395042 | 211 | solar | 150 | 0 | 0 | 211
Ararat | Արաքս | ք.Արարատ | Տ3312-1 | 081889058 | 209 | tap | 0 | 248 | 0 | 209
Yerevan | Արևմուտք | ք.Երևան | Տ9454-1 | 47457441111 | 205 | tap | 150 | 248 | 0 | 205
Shirak | Ղարս | ք.Գյումրի | Տ5277-1 | 292373042 | 243 | solar | 150 | 0 | 0 | 203
Ararat | Արաքս | Դաշտավան | Տ1562-1 | 101547052 | 200 | solar | 150 | 0 | 0 | 200
Gegharkunik | Գեղամա | ք.Գավառ | Տ6327-1 | 16948044 | 211 | overload | 0 | 0 | 186 | 196
Tavush | Աղստև | Այրում | Տ6831-1 | 43813020 | 268 | tap | 150 | 248 | 0 | 188
Shirak | Ղարս | ք.Գյումրի | Տ2700-1 | 291383042 | 180 | solar | 150 | 0 | 0 | 180
Shirak | Ղարս | ք.Գյումրի | Տ6496-1 | 292048042 | 175 | tap | 150 | 248 | 0 | 175
Shirak | Ղարս | ք.Գյումրի | Տ2244-1 | 292172042 | 175 | solar | 150 | 0 | 0 | 175
Yerevan | Հարավ | ք.Երևան | Տ0049-1 | 491770001 | 172 | solar | 150 | 0 | 0 | 172
Yerevan | Հյուսիս | ք.Երևան | Տ7701-1 | 5148435111 | 170 | solar | 150 | 0 | 0 | 170
Yerevan | Հյուսիս | ք.Երևան | Տ0741-2 | 503369006 | 172 | overload | 0 | 0 | 186 | 170
Shirak | Ղարս | ք.Գյումրի | Կ2819-1 | 291976042 | 169 | tap | 150 | 248 | 0 | 169
Shirak | Ղարս | ք.Արթիկ | Տ5013-1 | 311017054 | 168 | tap | 150 | 248 | 0 | 168
Ararat | Արաքս | Հովտաշատ | Տ1581-1 | 101579052 | 165 | solar | 150 | 0 | 0 | 165
Shirak | Ղարս | ք.Արթիկ | Տ5022-1 | 311058054 | 165 | solar | 150 | 0 | 0 | 165
Shirak | Ղարս | ք.Գյումրի | Տ2803-1 | 291968042 | 165 | tap | 150 | 248 | 0 | 165
Ararat | Արաքս | Հովտաշատ | Տ1583-1 | 101582052 | 204 | solar+overload | 150 | 0 | 186 | 164
Yerevan | Հյուսիս | ք.Երևան | Տ9499-2 | 51497516111 | 163 | tap | 150 | 248 | 0 | 163
Shirak | Ղարս | ք.Գյումրի | Տ5254-1 | 292370042 | 163 | solar | 150 | 0 | 0 | 163
Yerevan | Արևմուտք | ք.Երևան | Տ1414-2 | 466811005 | 159 | tap | 0 | 248 | 0 | 159
Shirak | Ղարս | ք.Գյումրի | Տ5182-1 | 292419042 | 162 | solar | 150 | 0 | 0 | 159
Yerevan | Արևմուտք | ք.Երևան | Տ0705-2 | 461197007 | 158 | solar | 150 | 0 | 0 | 158
Shirak | Ղարս | ք.Գյումրի | Տ6538-1 | 292179042 | 153 | solar | 150 | 0 | 0 | 153
Shirak | Ղարս | ք.Գյումրի | Տ6547-1 | 292052042 | 152 | tap | 150 | 248 | 0 | 152
Shirak | Ղարս | ք.Գյումրի | Տ4375-1 | 292251042 | 166 | solar | 150 | 0 | 0 | 151
Yerevan | Արևմուտք | ք.Երևան | Տ8048-1 | 47207046111 | 150 | tap | 150 | 248 | 0 | 150
Yerevan | Արևմուտք | ք.Երևան | Տ0705-2 | 461198007 | 149 | solar | 150 | 0 | 0 | 149
Syunik | Տաթև | ք.Կապան | Տ3570-2 | 36944043 | 149 | tap | 150 | 248 | 0 | 149
Kotayk | Գեղամա | Պռոշյան | Տ6548-1 | 21259590111 | 148 | solar | 150 | 0 | 0 | 148
Yerevan | Հարավ | ք.Երևան | Տ0266-1 | 491953001 | 193 | overload | 0 | 0 | 186 | 148
Syunik | Տաթև | ք.Մեղրի | Տ0205-1 | 37240040 | 144 | tap | 150 | 248 | 0 | 144
Yerevan | Հարավ | ք.Երևան | Տ0713-1 | 4850017111 | 143 | solar | 150 | 0 | 0 | 143
Kotayk | Գեղամա | Բջնի | Տ2455-1 | 19627053 | 142 | solar | 150 | 0 | 0 | 142
Yerevan | Հարավ | ք.Երևան | Տ1153-1 | 4850584111 | 152 | overload | 0 | 0 | 186 | 142
Yerevan | Արևմուտք | ք.Երևան | Տ0705-1 | 461189007 | 142 | solar | 150 | 0 | 0 | 142
Kotayk | Գեղամա | ք.Աբովյան | Տ3816-1 | 22192328111 | 141 | solar | 150 | 0 | 0 | 141
Yerevan | Հարավ | ք.Երևան | Տ1767-2 | 491943001 | 187 | solar | 150 | 0 | 0 | 141
Yerevan | Հյուսիս | ք.Երևան | Տ1266-2 | 504110006 | 141 | solar | 150 | 0 | 0 | 141
Ararat | Արաքս | Դաշտավան | Տ5821-1 | 101550052 | 140 | solar | 150 | 0 | 0 | 140
Tavush | Աղստև | Կողբ | Տ4025-1 | 43465020 | 140 | solar | 150 | 0 | 0 | 140
Shirak | Ղարս | ք.Գյումրի | Տ4979-1 | 292397042 | 139 | solar | 150 | 0 | 0 | 139
Shirak | Ղարս | ք.Գյումրի | Տ4968-1 | 292394042 | 305 | solar | 150 | 0 | 0 | 139
Yerevan | Արևմուտք | ք.Երևան | Տ9544-2 | 47502322111 | 139 | tap | 150 | 248 | 0 | 139
Lori | Դեբեդ | Նեղոց | Տ6955-1 | 281280033 | 139 | tap | 150 | 248 | 0 | 139
Shirak | Ղարս | ք.Գյումրի | Տ2701-1 | 291389042 | 185 | solar | 150 | 0 | 0 | 137
Syunik | Տաթև | ք.Ագարակ | Տ2632-1 | 37388040 | 136 | solar | 150 | 0 | 0 | 136
Shirak | Ղարս | ք.Արթիկ | Տ6888-1 | 311011054 | 137 | solar | 150 | 0 | 0 | 136
Tavush | Աղստև | Արճիս | Տ4120-1 | 43765020 | 138 | solar | 150 | 0 | 0 | 136
Yerevan | Հյուսիս | ք.Երևան | Տ7489-2 | 5131031111 | 136 | tap | 150 | 248 | 0 | 136
Yerevan | Արևմուտք | ք.Երևան | Տ1839-1 | 471820005 | 135 | tap | 150 | 248 | 0 | 135
Ararat | Արաքս | Գեղանիստ | Տ5860-1 | 101657052 | 282 | solar+overload | 150 | 0 | 186 | 134
Yerevan | Հարավ | ք.Երևան | Տ2012-1 | 481286002 | 136 | solar | 150 | 0 | 0 | 134
Tavush | Աղստև | Ոսկեպար | Տ4058-1 | 43531020 | 133 | solar | 150 | 0 | 0 | 133
Ararat | Արաքս | Հովտաշատ | Տ5833-1 | 101586052 | 137 | solar+overload | 150 | 0 | 186 | 132
Yerevan | Հարավ | ք.Երևան | Տ0073-2 | 497335001 | 132 | solar | 150 | 0 | 0 | 132
Yerevan | Արևմուտք | ք.Երևան | Տ0808-1 | 474897005 | 131 | solar | 150 | 0 | 0 | 131
Tavush | Աղստև | Այրում | Տ6829-1 | 43810020 | 131 | solar | 150 | 0 | 0 | 130
Ararat | Արաքս | Արգավանդ | Տ5867-1 | 101665052 | 174 | solar+overload | 150 | 0 | 186 | 130
Ararat | Արաքս | Արգավանդ | Տ5865-1 | 101663052 | 151 | solar+overload | 150 | 0 | 186 | 129
Kotayk | Գեղամա | ք.Եղվարդ | Տ2676-1 | 21450376111 | 129 | solar | 150 | 0 | 0 | 129
Shirak | Ղարս | ք.Գյումրի | Կ2920-1 | 291977042 | 129 | tap | 150 | 248 | 0 | 129
Kotayk | Գեղամա | ք.Հրազդան | Տ4477-1 | 18777050 | 293 | tap | 0 | 248 | 0 | 129
Yerevan | Արևմուտք | ք.Երևան | Տ1719-1 | 46191095111 | 130 | solar | 150 | 0 | 0 | 128
Lori | Դեբեդ | Աքորի | Տ5079-1 | 281054033 | 268 | overload | 0 | 0 | 186 | 128
Yerevan | Հարավ | ք.Երևան | Տ0162-1 | 48910002 | 194 | overload | 0 | 0 | 186 | 127
Yerevan | Հյուսիս | ք.Երևան | Տ0400-1 | 514202004 | 127 | tap | 150 | 248 | 0 | 127
Yerevan | Արևմուտք | ք.Երևան | Տ0824-2 | 461915007 | 127 | solar | 150 | 0 | 0 | 127
Shirak | Ղարս | ք.Գյումրի | Տ2701-2 | 291385042 | 126 | solar | 150 | 0 | 0 | 126
Syunik | Տաթև | ք.Մեղրի | Տ2896-1 | 37245040 | 126 | tap | 150 | 248 | 0 | 126
Tavush | Աղստև | ք.Դիլիջան | Տ7430-2 | 41312531111 | 356 | tap | 0 | 248 | 0 | 126
Kotayk | Գեղամա | ք.Եղվարդ | Տ7981-1 | 21263534111 | 126 | solar | 150 | 0 | 0 | 126
Yerevan | Արևմուտք | ք.Երևան | Տ1240-2 | 47354801111 | 125 | solar | 150 | 0 | 0 | 125
Ararat | Արաքս | Զորակ | Տ5827-1 | 101556052 | 175 | solar+overload | 150 | 0 | 186 | 124
Shirak | Ղարս | ք.Գյումրի | Տ6533-1 | 291805042 | 124 | solar | 150 | 0 | 0 | 123
Yerevan | Հարավ | ք.Երևան | Տ0848-1 | 493062001 | 124 | solar | 150 | 0 | 0 | 122
Yerevan | Արևմուտք | ք.Երևան | Տ1207-1 | 462723007 | 149 | overload | 0 | 0 | 186 | 122
Kotayk | Գեղամա | ք.Աբովյան | Տ7652-1 | 22129363111 | 124 | overload | 0 | 0 | 186 | 122
Shirak | Ղարս | ք.Գյումրի | Կ2818-1 | 291974042 | 122 | tap | 150 | 248 | 0 | 122
Shirak | Ղարս | ք.Գյումրի | Տ2603-1 | 291346042 | 161 | solar | 150 | 0 | 0 | 121
Gegharkunik | Գեղամա | Սարուխան | Տ2254-1 | 161068044 | 130 | tap | 150 | 248 | 0 | 121
Yerevan | Հարավ | ք.Երևան | Տ0825-1 | 483188002 | 202 | overload | 0 | 0 | 186 | 121
Shirak | Ղարս | ք.Արթիկ | Տ5036-1 | 31505054 | 121 | solar | 150 | 0 | 0 | 121
Yerevan | Հարավ | ք.Երևան | Տ1079-1 | 49918003 | 120 | solar | 150 | 0 | 0 | 120
Shirak | Ղարս | ք.Գյումրի | Տ4679-1 | 292402042 | 120 | solar | 150 | 0 | 0 | 120
Ararat | Արաքս | Արգավանդ | Տ5868-1 | 101666052 | 214 | solar+overload | 150 | 0 | 186 | 120
Tavush | Աղստև | Այրում | Տ6829-1 | 43812020 | 118 | tap | 150 | 248 | 0 | 118
Shirak | Ղարս | ք.Գյումրի | Տ2701-1 | 291387042 | 117 | solar | 150 | 0 | 0 | 117
Lori | Դեբեդ | ք.Վանաձոր | Տ2786-1 | 232970039 | 117 | solar | 150 | 0 | 0 | 117
Ararat | Արաքս | Արգավանդ | Տ5866-1 | 101664052 | 187 | solar+overload | 150 | 0 | 186 | 117
Yerevan | Արևմուտք | ք.Երևան | Տ1247-1 | 466605005 | 117 | tap | 0 | 248 | 0 | 117
Yerevan | Արևմուտք | ք.Երևան | Տ0532-2 | 473786005 | 116 | solar | 150 | 0 | 0 | 116
Tavush | Աղստև | Կողբ | Տ4027-1 | 43487020 | 158 | solar | 150 | 0 | 0 | 116
Syunik | Տաթև | ք.Կապան | Տ4147-1 | 361368043 | 116 | tap | 150 | 248 | 0 | 116
Yerevan | Հյուսիս | ք.Երևան | Տ0881-2 | 513533004 | 114 | solar | 150 | 0 | 0 | 114
Syunik | Տաթև | Շվանիձոր | Կ0218-1 | 37328040 | 114 | tap | 150 | 248 | 0 | 114
Armavir | Մուսալեռ | Շենիկ | Տ7258-1 | 052484025 | 143 | solar+overload | 150 | 0 | 186 | 114
Shirak | Ղարս | Անուշավան | Կ6254-1 | 31862054 | 113 | solar | 150 | 0 | 0 | 113
Tavush | Աղստև | Բաղանիս | Տ6801-1 | 43525020 | 113 | tap | 150 | 248 | 0 | 113
Gegharkunik | Գեղամա | Սարուխան | Տ2251-1 | 161053044 | 118 | tap | 150 | 248 | 0 | 113
Kotayk | Գեղամա | Ալափարս | Տ2523-1 | 19410267111 | 112 | solar | 150 | 0 | 0 | 112
Armavir | Մուսալեռ | Ամբերդ | Տ4515-1 | 055250025 | 119 | overload | 0 | 0 | 186 | 112
Shirak | Ղարս | ք.Գյումրի | Տ6540-1 | 292169042 | 112 | solar | 150 | 0 | 0 | 112
Yerevan | Հարավ | ք.Երևան | Տ1764-2 | 49257244111 | 112 | solar | 150 | 0 | 0 | 112
Shirak | Ղարս | ք.Գյումրի | Տ2701-2 | 291384042 | 112 | solar | 150 | 0 | 0 | 112
Tavush | Աղստև | Արճիս | Տ4119-1 | 43763020 | 112 | solar | 150 | 0 | 0 | 112
Aragatsotn | Մուսալեռ | Օշական | Տ2998-1 | 04259628111 | 112 | tap | 0 | 248 | 0 | 111
Yerevan | Հարավ | ք.Երևան | Տ0029-1 | 4810930111 | 122 | solar | 150 | 0 | 0 | 111
Shirak | Ղարս | ք.Արթիկ | Տ5006-1 | 311033054 | 111 | solar | 150 | 0 | 0 | 111
Kotayk | Գեղամա | Առինջ | Տ2561-1 | 22128917111 | 119 | overload | 0 | 0 | 186 | 111
Shirak | Ղարս | ք.Գյումրի | Տ5182-1 | 292418042 | 111 | solar | 150 | 0 | 0 | 111
Yerevan | Հյուսիս | ք.Երևան | Տ9499-1 | 51500512111 | 111 | tap | 150 | 248 | 0 | 111
Yerevan | Հարավ | ք.Երևան | Տ0582-1 | 497267001 | 110 | solar | 150 | 0 | 0 | 110
Yerevan | Արևմուտք | ք.Երևան | Տ1454-1 | 4636964111 | 110 | tap | 0 | 248 | 0 | 110
Yerevan | Հարավ | ք.Երևան | Տ0981-1 | 494909001 | 155 | overload | 0 | 0 | 186 | 110
Syunik | Տաթև | ք.Կապան | Տ3565-1 | 36607043 | 111 | tap | 0 | 248 | 0 | 110
Gegharkunik | Գեղամա | Թթուջուր | Տ5133-1 | 14507035 | 109 | tap | 150 | 248 | 0 | 109
Gegharkunik | Գեղամա | Սարուխան | Տ2252-1 | 161058044 | 113 | tap | 150 | 248 | 0 | 109
Yerevan | Արևմուտք | ք.Երևան | Տ1240-1 | 4733122111 | 109 | solar | 150 | 0 | 0 | 109
Yerevan | Հարավ | ք.Երևան | Տ0851-1 | 497176001 | 109 | solar | 150 | 0 | 0 | 109
Yerevan | Արևմուտք | ք.Երևան | Տ1240-2 | 47492544111 | 109 | solar | 150 | 0 | 0 | 109
Shirak | Ղարս | ք.Գյումրի | Տ6490-1 | 292051042 | 109 | tap | 150 | 248 | 0 | 109
Yerevan | Հյուսիս | ք.Երևան | Տ0490-2 | 511831004 | 109 | solar | 150 | 0 | 0 | 109
Lori | Դեբեդ | Օձուն | Տ6963-1 | 281029033 | 130 | overload | 0 | 0 | 186 | 107
Ararat | Արաքս | ք.Մասիս | Տ7534-1 | 101615052 | 132 | solar | 150 | 0 | 0 | 107
Yerevan | Հարավ | ք.Երևան | Տ0927-1 | 491796001 | 168 | solar | 150 | 0 | 0 | 107
Shirak | Ղարս | ք.Գյումրի | Տ2228-1 | 292168042 | 107 | solar | 150 | 0 | 0 | 107
Gegharkunik | Գեղամա | Սարուխան | Տ2251-1 | 161054044 | 107 | solar | 150 | 0 | 0 | 107
Yerevan | Հարավ | ք.Երևան | Տ1084-1 | 4827083111 | 106 | solar | 150 | 0 | 0 | 106
Tavush | Աղստև | Կողբ | Տ6786-1 | 43481020 | 106 | solar | 150 | 0 | 0 | 106
Shirak | Ղարս | ք.Գյումրի | Տ4998-1 | 292407042 | 133 | solar | 150 | 0 | 0 | 106
Yerevan | Հարավ | ք.Երևան | Տ0280-2 | 482650002 | 165 | overload | 0 | 0 | 186 | 106
Yerevan | Հարավ | ք.Երևան | Տ1713-1 | 482212002 | 157 | overload | 0 | 0 | 186 | 105
Yerevan | Արևմուտք | ք.Երևան | Տ0032-2 | 46895007 | 105 | solar | 150 | 0 | 0 | 105
Tavush | Աղստև | Լճկաձոր | Տ6838-1 | 43822020 | 103 | solar | 150 | 0 | 0 | 103
Yerevan | Հարավ | ք.Երևան | Տ0699-1 | 482633002 | 151 | overload | 0 | 0 | 186 | 103
Yerevan | Հարավ | ք.Երևան | Տ0491-1 | 48870002 | 142 | overload | 0 | 0 | 186 | 103
Yerevan | Հյուսիս | ք.Երևան | Տ9499-1 | 51497531111 | 103 | tap | 150 | 248 | 0 | 103
Shirak | Ղարս | Պեմզաշեն | Կ6004-1 | 31907054 | 104 | solar | 150 | 0 | 0 | 103
Yerevan | Արևմուտք | ք.Երևան | Տ1418-1 | 466840005 | 103 | tap | 0 | 248 | 0 | 103
Yerevan | Հյուսիս | ք.Երևան | Տ0936-2 | 514893004 | 102 | tap | 150 | 248 | 0 | 102
Armavir | Մուսալեռ | Ծիածան | Տ5998-1 | 051747025 | 211 | overload | 0 | 0 | 186 | 102
Syunik | Տաթև | ք.Մեղրի | Տ2894-1 | 37307040 | 101 | solar | 150 | 0 | 0 | 101
Shirak | Ղարս | ք.Արթիկ | Տ5014-1 | 311053054 | 101 | solar | 150 | 0 | 0 | 101
Shirak | Ղարս | ք.Գյումրի | Տ5294-1 | 292375042 | 100 | solar | 150 | 0 | 0 | 100
Yerevan | Հարավ | ք.Երևան | Տ1014-2 | 49617003 | 100 | solar | 150 | 0 | 0 | 100
Shirak | Ղարս | ք.Արթիկ | Տ5916-1 | 311035054 | 100 | solar | 150 | 0 | 0 | 100
Yerevan | Արևմուտք | ք.Երևան | Տ0349-1 | 463303007 | 100 | solar | 150 | 0 | 0 | 100
Shirak | Ղարս | ք.Արթիկ | Տ5001-1 | 311069054 | 99 | solar | 150 | 0 | 0 | 99
Yerevan | Հարավ | ք.Երևան | Տ1743-1 | 4827033111 | 185 | solar | 150 | 0 | 0 | 99
Shirak | Ղարս | ք.Գյումրի | Տ2806-1 | 291971042 | 99 | tap | 150 | 248 | 0 | 99
Shirak | Ղարս | Ախուրյան | Տ4110-1 | 301093057 | 99 | solar | 150 | 0 | 0 | 99
Kotayk | Գեղամա | Պռոշյան | Տ6549-1 | 21259143111 | 99 | solar | 150 | 0 | 0 | 99
Lori | Դեբեդ | ք.Վանաձոր | Տ2895-1 | 231091039 | 98 | solar | 150 | 0 | 0 | 98
Ararat | Արաքս | Դաշտավան | Տ5817-1 | 101546052 | 194 | solar+overload | 150 | 0 | 186 | 98
Vayots Dzor | Արաքս | ք.Ջերմուկ | Տ3105-1 | 11846063 | 98 | tap | 150 | 248 | 0 | 98
Yerevan | Հարավ | ք.Երևան | Տ1089-2 | 482752002 | 131 | overload | 0 | 0 | 186 | 98
Shirak | Ղարս | ք.Արթիկ | Տ5024-1 | 311023054 | 98 | solar | 150 | 0 | 0 | 98
Yerevan | Հյուսիս | ք.Երևան | Տ0814-1 | 504178006 | 119 | overload | 0 | 0 | 186 | 97
Yerevan | Արևմուտք | ք.Երևան | Տ1380-1 | 466500005 | 97 | tap | 0 | 248 | 0 | 97
Ararat | Արաքս | Նիզամի | Տ1576-1 | 101560052 | 97 | solar | 150 | 0 | 0 | 97
Gegharkunik | Գեղամա | Սարուխան | Կ2258-1 | 161074044 | 103 | tap | 150 | 248 | 0 | 96
Yerevan | Արևմուտք | ք.Երևան | Տ0379-1 | 463343007 | 97 | solar | 150 | 0 | 0 | 96
Shirak | Ղարս | Ախուրյան | Տ4116-1 | 301073057 | 96 | solar | 150 | 0 | 0 | 96
Yerevan | Հյուսիս | ք.Երևան | Տ0585-1 | 515995004 | 102 | overload | 0 | 0 | 186 | 96
Yerevan | Արևմուտք | ք.Երևան | Տ0532-1 | 473752005 | 95 | solar | 150 | 0 | 0 | 95
Yerevan | Հյուսիս | ք.Երևան | Տ0214-1 | 501187006 | 206 | overload | 0 | 0 | 186 | 95
Yerevan | Արևմուտք | ք.Երևան | Տ0075-1 | 46806007 | 95 | tap | 150 | 248 | 0 | 95
Yerevan | Հյուսիս | ք.Երևան | Տ1266-2 | 504111006 | 94 | solar | 150 | 0 | 0 | 94
Yerevan | Արևմուտք | ք.Երևան | Տ1379-2 | 464996111 | 94 | tap | 0 | 248 | 0 | 94
Shirak | Ղարս | Արևիկ | Տ4029-1 | 301028057 | 94 | solar | 150 | 0 | 0 | 94
Yerevan | Հյուսիս | ք.Երևան | Տ0382-1 | 514740004 | 94 | tap | 150 | 248 | 0 | 94
Shirak | Ղարս | ք.Արթիկ | Տ5006-1 | 311032054 | 94 | solar | 150 | 0 | 0 | 94
Kotayk | Գեղամա | Ջրվեժ | Տ2530-1 | 22307154111 | 93 | solar | 150 | 0 | 0 | 93
Lori | Դեբեդ | ք.Ստեփանավան | Կ3008-1 | 25333012 | 117 | overload | 0 | 0 | 186 | 93
Shirak | Ղարս | ք.Գյումրի | Տ6587-1 | 29638042 | 94 | solar | 150 | 0 | 0 | 93
Ararat | Արաքս | Զորակ | Տ5823-1 | 101551052 | 140 | solar | 150 | 0 | 0 | 93
Syunik | Տաթև | ք.Մեղրի | Տ2913-2 | 37305040 | 93 | tap | 150 | 248 | 0 | 93
Shirak | Ղարս | Ազատան | Կ4036-1 | 30811057 | 93 | tap | 150 | 248 | 0 | 93
Shirak | Ղարս | Փանիկ | Տ6052-1 | 312159054 | 93 | solar | 150 | 0 | 0 | 92
Yerevan | Հյուսիս | ք.Երևան | Տ0550-1 | 511655004 | 92 | solar | 150 | 0 | 0 | 92
Kotayk | Գեղամա | ք.Չարենցավան | Տ2403-1 | 19307208111 | 92 | solar | 150 | 0 | 0 | 92
Yerevan | Արևմուտք | ք.Երևան | Տ0770-1 | 474780005 | 92 | solar | 150 | 0 | 0 | 92
Gegharkunik | Գեղամա | Սարուխան | Տ2252-1 | 161060044 | 102 | tap | 150 | 248 | 0 | 92
Lori | Դեբեդ | ք.Վանաձոր | Տ2881-1 | 232945039 | 92 | solar | 150 | 0 | 0 | 92
Ararat | Արաքս | Արգավանդ | Տ5947-1 | 101678052 | 96 | solar | 150 | 0 | 0 | 92
Yerevan | Հարավ | ք.Երևան | Տ0795-1 | 482919002 | 125 | overload | 0 | 0 | 186 | 92
Yerevan | Հարավ | ք.Երևան | Տ0132-2 | 481599002 | 93 | solar | 150 | 0 | 0 | 92
Ararat | Արաքս | Գեղանիստ | Տ5862-1 | 101660052 | 149 | solar+overload | 150 | 0 | 186 | 92
Yerevan | Հարավ | ք.Երևան | Տ1349-2 | 482706002 | 91 | solar | 150 | 0 | 0 | 91
Syunik | Տաթև | ք.Մեղրի | Տ2888-1 | 37234040 | 91 | solar | 150 | 0 | 0 | 91
Gegharkunik | Գեղամա | ք.Ճամբարակ | Տ5119-1 | 14833035 | 91 | tap | 150 | 248 | 0 | 91
Aragatsotn | Մուսալեռ | ք.Աշտարակ | Կ0066-1 | 03645017 | 124 | overload | 0 | 0 | 186 | 90
Tavush | Աղստև | Ջուջևան | Տ6800-1 | 43510020 | 91 | solar | 150 | 0 | 0 | 90
Shirak | Ղարս | ք.Գյումրի | Տ6519-1 | 292167042 | 90 | solar | 150 | 0 | 0 | 90
Yerevan | Հարավ | ք.Երևան | Տ9970-1 | 481306002 | 90 | solar | 150 | 0 | 0 | 90
Lori | Դեբեդ | Մեծ այրում | Տ7050-1 | 281292033 | 91 | solar | 150 | 0 | 0 | 89
Ararat | Արաքս | Ռանչպար | Տ2271-1 | 101131052 | 91 | solar | 150 | 0 | 0 | 89
Tavush | Աղստև | Ազատամուտ | Տ6273-1 | 44919024 | 166 | overload | 0 | 0 | 186 | 89
Yerevan | Արևմուտք | ք.Երևան | Տ0462-1 | 461132007 | 89 | solar | 150 | 0 | 0 | 89
Kotayk | Գեղամա | Ալափարս | Տ2522-1 | 19410278111 | 89 | solar | 150 | 0 | 0 | 89
Armavir | Մուսալեռ | Փարաքար | Տ4859-3 | 052435025 | 90 | solar+overload | 150 | 0 | 186 | 89
Yerevan | Հյուսիս | ք.Երևան | Տ0936-2 | 514894004 | 89 | tap | 150 | 248 | 0 | 89
Ararat | Արաքս | Շահումյան | Տ3971-1 | 091976055 | 89 | solar+overload | 150 | 0 | 186 | 89
Yerevan | Հարավ | ք.Երևան | Տ7416-1 | 49202793111 | 89 | solar | 150 | 0 | 0 | 89
Tavush | Աղստև | Ջուջևան | Տ8125-1 | 43508020 | 90 | solar | 150 | 0 | 0 | 88
Yerevan | Արևմուտք | ք.Երևան | Տ0948-1 | 46447892111 | 88 | solar | 150 | 0 | 0 | 88
Yerevan | Արևմուտք | ք.Երևան | Տ1248-1 | 4654870111 | 88 | tap | 0 | 248 | 0 | 88
Yerevan | Հարավ | ք.Երևան | Տ0012-1 | 481561002 | 88 | solar | 150 | 0 | 0 | 88
Yerevan | Արևմուտք | ք.Երևան | Տ0593-1 | 461175007 | 87 | solar | 150 | 0 | 0 | 87
Shirak | Ղարս | ք.Գյումրի | Տ6505-1 | 291807042 | 87 | solar | 150 | 0 | 0 | 87
Kotayk | Գեղամա | Ձորաղբյուր | Տ1573-1 | 22247335111 | 107 | overload | 0 | 0 | 186 | 87
Ararat | Արաքս | Նիզամի | Տ1574-1 | 101557052 | 119 | solar+overload | 150 | 0 | 186 | 87
Shirak | Ղարս | ք.Գյումրի | Տ6583-1 | 291880042 | 101 | solar | 150 | 0 | 0 | 87
Tavush | Աղստև | Ոսկևան | Տ4054-1 | 43527020 | 87 | tap | 150 | 248 | 0 | 87
Yerevan | Արևմուտք | ք.Երևան | Տ1706-1 | 462922007 | 87 | solar | 150 | 0 | 0 | 87
Yerevan | Հարավ | ք.Երևան | Տ1203-1 | 4841214111 | 169 | overload | 0 | 0 | 186 | 86
Syunik | Տաթև | ք.Մեղրի | Տ2902-1 | 37249040 | 88 | tap | 150 | 248 | 0 | 86
Kotayk | Գեղամա | Ալափարս | Տ2522-1 | 19410284111 | 86 | solar | 150 | 0 | 0 | 86
Shirak | Ղարս | Ազատան | Կ4066-1 | 30725057 | 86 | solar | 150 | 0 | 0 | 86
Yerevan | Հյուսիս | ք.Երևան | Տ0812-1 | 516228004 | 112 | overload | 0 | 0 | 186 | 86
Yerevan | Հարավ | ք.Երևան | Տ1014-2 | 49611003 | 86 | solar | 150 | 0 | 0 | 86
Yerevan | Հարավ | ք.Երևան | Տ0796-1 | 481465002 | 86 | solar | 150 | 0 | 0 | 86
Yerevan | Հարավ | ք.Երևան | Տ1313-1 | 48327003 | 142 | overload | 0 | 0 | 186 | 86
Shirak | Ղարս | ք.Գյումրի | Տ2700-2 | 291382042 | 223 | solar | 150 | 0 | 0 | 86
Lori | Դեբեդ | ք.Վանաձոր | Տ1984-1 | 231116039 | 86 | solar | 150 | 0 | 0 | 86
Syunik | Տաթև | ք.Ագարակ | Տ2649-1 | 37409040 | 87 | tap | 150 | 248 | 0 | 86
Armavir | Մուսալեռ | Փարաքար | Տ7129-4 | 05149533111 | 86 | solar+overload | 150 | 0 | 186 | 86
Yerevan | Հարավ | ք.Երևան | Տ1762-2 | 481483002 | 86 | solar | 150 | 0 | 0 | 86
Yerevan | Հարավ | ք.Երևան | Տ1108-3 | 49297921111 | 85 | solar | 150 | 0 | 0 | 85
Syunik | Տաթև | ք.Կապան | Տ4147-1 | 361374043 | 85 | tap | 150 | 248 | 0 | 85
Kotayk | Գեղամա | ք.Աբովյան | Տ7446-1 | 22129386111 | 108 | overload | 0 | 0 | 186 | 85
Lori | Դեբեդ | ք.Վանաձոր | Տ2525-1 | 232089039 | 94 | overload | 0 | 0 | 186 | 85
Yerevan | Արևմուտք | ք.Երևան | Տ1238-1 | 47183195111 | 85 | tap | 150 | 248 | 0 | 85
Yerevan | Արևմուտք | ք.Երևան | Տ0457-1 | 471600005 | 85 | tap | 150 | 248 | 0 | 85
Aragatsotn | Մուսալեռ | ք.Աշտարակ | Տ1872-1 | 03673017 | 159 | overload | 0 | 0 | 186 | 84
Gegharkunik | Գեղամա | ք.Ճամբարակ | Տ5109-1 | 14428035 | 84 | tap | 150 | 248 | 0 | 84
Yerevan | Հյուսիս | ք.Երևան | Տ0780-1 | 516223004 | 126 | overload | 0 | 0 | 186 | 84
Yerevan | Հյուսիս | ք.Երևան | Տ1025-1 | 513373004 | 109 | overload | 0 | 0 | 186 | 84
Shirak | Ղարս | Լեռնակերտ | Տ7179-1 | 31698054 | 84 | solar | 150 | 0 | 0 | 84
Armavir | Մուսալեռ | ք.Վաղարշապատ | Տ5992-1 | 05182277111 | 126 | overload | 0 | 0 | 186 | 84
Yerevan | Հյուսիս | ք.Երևան | Տ1002-2 | 517645004 | 84 | tap | 150 | 248 | 0 | 84
Yerevan | Արևմուտք | ք.Երևան | Տ1060-2 | 465999005 | 84 | tap | 0 | 248 | 0 | 84
Gegharkunik | Գեղամա | ք.Ճամբարակ | Տ5125-1 | 14827035 | 105 | overload | 0 | 0 | 186 | 84
Yerevan | Հյուսիս | ք.Երևան | Տ1540-2 | 502742006 | 84 | solar | 150 | 0 | 0 | 84
Yerevan | Հյուսիս | ք.Երևան | Տ1323-1 | 501223006 | 128 | overload | 0 | 0 | 186 | 84
Yerevan | Հյուսիս | ք.Երևան | Տ7605-3 | 5157862111 | 84 | solar | 150 | 0 | 0 | 84
Yerevan | Հյուսիս | ք.Երևան | Տ0734-1 | 511913004 | 90 | overload | 0 | 0 | 186 | 84
Yerevan | Արևմուտք | ք.Երևան | Տ0960-1 | 465019007 | 84 | solar | 150 | 0 | 0 | 84
Shirak | Ղարս | ք.Գյումրի | Տ4528-1 | 292300042 | 84 | solar | 150 | 0 | 0 | 84
Yerevan | Հյուսիս | ք.Երևան | Տ7605-2 | 5121329111 | 84 | solar | 150 | 0 | 0 | 84
Kotayk | Գեղամա | ք.Չարենցավան | Տ2405-1 | 19307278111 | 84 | solar | 150 | 0 | 0 | 84
Ararat | Արաքս | Հովտաշատ | Տ5832-1 | 101577052 | 126 | solar+overload | 150 | 0 | 186 | 83
Yerevan | Հարավ | ք.Երևան | Տ0091-1 | 486418111 | 137 | overload | 0 | 0 | 186 | 83
Yerevan | Հյուսիս | ք.Երևան | Տ1528-1 | 501788006 | 83 | solar | 150 | 0 | 0 | 83
Shirak | Ղարս | Պեմզաշեն | Տ6002-1 | 31903054 | 83 | solar | 150 | 0 | 0 | 83
Shirak | Ղարս | ք.Գյումրի | Տ4907-1 | 292243042 | 175 | solar | 150 | 0 | 0 | 83
Gegharkunik | Գեղամա | Վահան | Տ5200-1 | 14416035 | 83 | tap | 150 | 248 | 0 | 83
Yerevan | Հյուսիս | ք.Երևան | Տ0550-1 | 511658004 | 83 | solar | 150 | 0 | 0 | 83
Yerevan | Հյուսիս | ք.Երևան | Տ0816-1 | 515868004 | 152 | solar | 150 | 0 | 0 | 83
Yerevan | Արևմուտք | ք.Երևան | Տ0532-1 | 473753005 | 83 | solar | 150 | 0 | 0 | 83
Yerevan | Հարավ | ք.Երևան | Տ1014-2 | 49615003 | 83 | solar | 150 | 0 | 0 | 83
Lori | Դեբեդ | ք.Վանաձոր | Տ2845-2 | 232953039 | 82 | solar | 150 | 0 | 0 | 82
Yerevan | Հյուսիս | ք.Երևան | Տ7605-2 | 51425428111 | 82 | solar | 150 | 0 | 0 | 82
Kotayk | Գեղամա | Զովունի | Տ2152-1 | 21234313111 | 82 | solar | 150 | 0 | 0 | 82
Yerevan | Արևմուտք | ք.Երևան | Տ1728-1 | 462937007 | 82 | solar | 150 | 0 | 0 | 82
Yerevan | Հարավ | ք.Երևան | Տ0633-2 | 482146002 | 128 | overload | 0 | 0 | 186 | 82
Yerevan | Հյուսիս | ք.Երևան | Տ7605-3 | 513763004 | 85 | solar | 150 | 0 | 0 | 82
Shirak | Ղարս | Նոր կյանք | Տ7224-1 | 31778054 | 82 | solar | 150 | 0 | 0 | 82
Yerevan | Արևմուտք | ք.Երևան | Տ7523-1 | 473103005 | 82 | solar | 150 | 0 | 0 | 82
Aragatsotn | Մուսալեռ | ք.Աշտարակ | Տ1968-1 | 03674017 | 92 | overload | 0 | 0 | 186 | 81
Yerevan | Արևմուտք | ք.Երևան | Տ1240-1 | 4732913111 | 81 | solar | 150 | 0 | 0 | 81
Gegharkunik | Գեղամա | Վահան | Տ5201-1 | 14419035 | 81 | tap | 150 | 248 | 0 | 81
Yerevan | Հարավ | ք.Երևան | Տ7260-1 | 481311002 | 81 | solar | 150 | 0 | 0 | 81
Ararat | Արաքս | Դարբնիկ | Տ5809-1 | 101542052 | 180 | solar+overload | 150 | 0 | 186 | 81
Kotayk | Գեղամա | ք.Չարենցավան | Տ7325-1 | 19550053 | 81 | solar | 150 | 0 | 0 | 81
Shirak | Ղարս | ք.Գյումրի | Կ2203-1 | 292047042 | 81 | tap | 150 | 248 | 0 | 81
Armavir | Մուսալեռ | Մուսալեռ | Տ4874-1 | 052862025 | 95 | overload | 0 | 0 | 186 | 81
Ararat | Արաքս | Հովտաշատ | Տ1582-1 | 101581052 | 103 | solar+overload | 150 | 0 | 186 | 81
Yerevan | Հյուսիս | ք.Երևան | Տ1361-2 | 501949006 | 81 | tap | 150 | 248 | 0 | 81
Yerevan | Հարավ | ք.Երևան | Տ1767-1 | 491940001 | 140 | solar | 150 | 0 | 0 | 81
Ararat | Արաքս | ք.Մասիս | Տ7656 | 1046463111 | 81 | solar+overload | 150 | 0 | 186 | 81
Yerevan | Հարավ | ք.Երևան | Տ1927-1 | 48203961111 | 80 | solar | 150 | 0 | 0 | 80
Armavir | Մուսալեռ | Ծաղկալանջ | Տ4509-1 | 055517025 | 116 | overload | 0 | 0 | 186 | 80
Gegharkunik | Գեղամա | ք.Ճամբարակ | Տ5119-1 | 14830035 | 80 | tap | 150 | 248 | 0 | 80
Yerevan | Արևմուտք | ք.Երևան | Տ0707-1 | 461095007 | 80 | solar | 150 | 0 | 0 | 80
Yerevan | Հարավ | ք.Երևան | Տ1712-1 | 482050002 | 153 | overload | 0 | 0 | 186 | 80
Lori | Դեբեդ | ք.Վանաձոր | Տ2786-1 | 232974039 | 80 | solar | 150 | 0 | 0 | 80
Shirak | Ղարս | Արևիկ | Տ4003-1 | 301030057 | 82 | solar | 150 | 0 | 0 | 80
Yerevan | Հյուսիս | ք.Երևան | Տ1535-1 | 502834006 | 80 | solar | 150 | 0 | 0 | 80
Yerevan | Հարավ | ք.Երևան | Տ0569-1 | 491960001 | 116 | overload | 0 | 0 | 186 | 80
Yerevan | Արևմուտք | ք.Երևան | Տ1061-1 | 467901005 | 80 | tap | 0 | 248 | 0 | 80
Gegharkunik | Գեղամա | ք.Ճամբարակ | Կ5137-1 | 141017035 | 80 | tap | 150 | 248 | 0 | 80
Yerevan | Արևմուտք | ք.Երևան | Տ0726-1 | 46158305111 | 155 | overload | 0 | 0 | 186 | 79
Yerevan | Հյուսիս | ք.Երևան | Տ1535-1 | 502837006 | 79 | solar | 150 | 0 | 0 | 79
Yerevan | Արևմուտք | ք.Երևան | Տ1423-2 | 466852005 | 79 | tap | 0 | 248 | 0 | 79
Kotayk | Գեղամա | Առինջ | Տ7973-1 | 22129274111 | 81 | overload | 0 | 0 | 186 | 79
Tavush | Աղստև | Կողբ | Տ6782-1 | 43473020 | 98 | solar | 150 | 0 | 0 | 79
Yerevan | Արևմուտք | ք.Երևան | Տ1263-1 | 471406005 | 79 | solar | 150 | 0 | 0 | 79
Armavir | Մուսալեռ | Արագած | Տ4512-1 | 055370025 | 116 | overload | 0 | 0 | 186 | 79
Yerevan | Հյուսիս | ք.Երևան | Տ1527-1 | 501750006 | 79 | solar | 150 | 0 | 0 | 79
Tavush | Աղստև | Այրում | Տ6829-1 | 43811020 | 79 | solar | 150 | 0 | 0 | 79
Yerevan | Հյուսիս | ք.Երևան | Տ0839-2 | 502481006 | 79 | tap | 150 | 248 | 0 | 79
Armavir | Մուսալեռ | Արագած | Տ4511-1 | 055388025 | 124 | overload | 0 | 0 | 186 | 79
Yerevan | Արևմուտք | ք.Երևան | Տ1061-1 | 467900005 | 78 | tap | 0 | 248 | 0 | 78
Armavir | Մուսալեռ | Փարաքար | Տ4849-2 | 052432025 | 80 | solar+overload | 150 | 0 | 186 | 78
Yerevan | Հյուսիս | ք.Երևան | Տ0585-1 | 515994004 | 78 | overload | 0 | 0 | 186 | 78
Yerevan | Հարավ | ք.Երևան | Տ1351-1 | 482722002 | 78 | solar | 150 | 0 | 0 | 78
Yerevan | Արևմուտք | ք.Երևան | Տ1238-1 | 471398005 | 78 | tap | 150 | 248 | 0 | 78
Yerevan | Հյուսիս | ք.Երևան | Տ7605-2 | 51201027111 | 78 | solar | 150 | 0 | 0 | 78
Shirak | Ղարս | ք.Գյումրի | Տ2817-1 | 291973042 | 78 | tap | 150 | 248 | 0 | 78
Yerevan | Արևմուտք | ք.Երևան | Տ1423-2 | 466855005 | 78 | tap | 0 | 248 | 0 | 78
Syunik | Տաթև | ք.Ագարակ | Տ2645-1 | 37397040 | 79 | tap | 150 | 248 | 0 | 78
Kotayk | Գեղամա | Բջնի | Տ2533-1 | 19458730111 | 78 | solar | 150 | 0 | 0 | 78
Tavush | Աղստև | Ոսկևան | Տ6859-1 | 43512020 | 78 | solar | 150 | 0 | 0 | 78
Yerevan | Հյուսիս | ք.Երևան | Տ0936-1 | 514883004 | 78 | tap | 150 | 248 | 0 | 78
Lori | Դեբեդ | Արևածագ | Տ6999-1 | 28992033 | 129 | overload | 0 | 0 | 186 | 77
Yerevan | Արևմուտք | ք.Երևան | Տ1422-1 | 466759005 | 77 | tap | 0 | 248 | 0 | 77
Kotayk | Գեղամա | Բջնի | Տ2455-1 | 19628053 | 77 | solar | 150 | 0 | 0 | 77
Yerevan | Հարավ | ք.Երևան | Տ1923-1 | 4840541111 | 121 | solar | 150 | 0 | 0 | 77
Yerevan | Հյուսիս | ք.Երևան | Տ0943-1 | 514900004 | 117 | solar+overload | 150 | 0 | 186 | 77
Yerevan | Հարավ | ք.Երևան | Տ1080-1 | 49971003 | 77 | solar | 150 | 0 | 0 | 77
Aragatsotn | Մուսալեռ | Արագած(ապարանի տարածաշրջան) | Կ0550-1 | 01374021 | 95 | solar | 150 | 0 | 0 | 77
Yerevan | Հարավ | ք.Երևան | Տ1224-2 | 491813001 | 77 | solar | 150 | 0 | 0 | 77
Yerevan | Արևմուտք | ք.Երևան | Տ1245-2 | 466137005 | 77 | tap | 0 | 248 | 0 | 77
Yerevan | Հյուսիս | ք.Երևան | Տ1639-1 | 511775004 | 77 | solar | 150 | 0 | 0 | 77
Yerevan | Հյուսիս | ք.Երևան | Տ7605-2 | 5118197111 | 77 | solar | 150 | 0 | 0 | 77
Yerevan | Հյուսիս | ք.Երևան | Տ7605-2 | 51201025111 | 77 | solar | 150 | 0 | 0 | 77
Yerevan | Արևմուտք | ք.Երևան | Տ0873-2 | 4748542111 | 76 | solar | 150 | 0 | 0 | 76
Yerevan | Արևմուտք | ք.Երևան | Տ1454-1 | 4636948111 | 76 | tap | 0 | 248 | 0 | 76
Yerevan | Հարավ | ք.Երևան | Տ0132-2 | 481614002 | 77 | solar | 150 | 0 | 0 | 76
Yerevan | Հարավ | ք.Երևան | Տ0097-1 | 495641001 | 76 | solar | 150 | 0 | 0 | 76
Syunik | Տաթև | ք.Ագարակ | Տ2645-1 | 37398040 | 77 | tap | 150 | 248 | 0 | 76
Yerevan | Արևմուտք | ք.Երևան | Տ1419-1 | 467032005 | 76 | tap | 0 | 248 | 0 | 76
Yerevan | Արևմուտք | ք.Երևան | Տ1402-1 | 466900005 | 76 | tap | 0 | 248 | 0 | 76
Yerevan | Արևմուտք | ք.Երևան | Տ1247-2 | 466145005 | 76 | tap | 0 | 248 | 0 | 76
Yerevan | Հյուսիս | ք.Երևան | Տ7605-2 | 5118195111 | 76 | solar | 150 | 0 | 0 | 76
Shirak | Ղարս | Պեմզաշեն | Տ7178-1 | 31914054 | 76 | solar | 150 | 0 | 0 | 76
Yerevan | Հյուսիս | ք.Երևան | Տ0841-2 | 502505006 | 76 | solar | 150 | 0 | 0 | 76
Yerevan | Հյուսիս | ք.Երևան | Տ7605-2 | 51201029111 | 76 | solar | 150 | 0 | 0 | 76
Armavir | Մուսալեռ | ք.Վաղարշապատ | Տ4543-1 | 05212921111 | 137 | overload | 0 | 0 | 186 | 76
Kotayk | Գեղամա | ք.Աբովյան | Տ9186-1 | 22411476111 | 89 | overload | 0 | 0 | 186 | 76
Lori | Դեբեդ | Ճոճկան | Տ7073-1 | 281315033 | 128 | solar | 150 | 0 | 0 | 76
Yerevan | Հյուսիս | ք.Երևան | Տ1180-1 | 513380004 | 78 | overload | 0 | 0 | 186 | 76
Yerevan | Հարավ | ք.Երևան | Տ2012-2 | 481289002 | 78 | solar | 150 | 0 | 0 | 76
Gegharkunik | Գեղամա | Ջիլ | Տ5011-1 | 14384035 | 92 | tap | 0 | 248 | 0 | 75
Tavush | Աղստև | Կոթի | Տ4061-1 | 43552020 | 83 | tap | 150 | 248 | 0 | 75
Yerevan | Արևմուտք | ք.Երևան | Տ1422-1 | 466754005 | 75 | tap | 0 | 248 | 0 | 75
Yerevan | Արևմուտք | ք.Երևան | Տ1061-1 | 467902005 | 75 | tap | 0 | 248 | 0 | 75
Tavush | Աղստև | Կողբ | Տ8123-1 | 43479020 | 122 | solar | 150 | 0 | 0 | 75
Yerevan | Հյուսիս | ք.Երևան | Տ1631-1 | 513558004 | 75 | tap | 150 | 248 | 0 | 75
Vayots Dzor | Արաքս | ք.Ջերմուկ | Տ3104-1 | 11845063 | 75 | solar | 150 | 0 | 0 | 75
Armavir | Մուսալեռ | Հայթաղ | Տ4505-1 | 05204304111 | 161 | overload | 0 | 0 | 186 | 75
Syunik | Տաթև | ք.Կապան | Տ3555-1 | 36557043 | 75 | tap | 0 | 248 | 0 | 75
Yerevan | Արևմուտք | ք.Երևան | Տ1728-2 | 461200007 | 75 | solar | 150 | 0 | 0 | 75
Gegharkunik | Գեղամա | Վահան | Տ5202-1 | 14422035 | 75 | tap | 150 | 248 | 0 | 75
Shirak | Ղարս | ք.Արթիկ | Տ5014-1 | 311052054 | 75 | solar | 150 | 0 | 0 | 75
Yerevan | Հարավ | ք.Երևան | Տ1139-1 | 481574002 | 75 | solar | 150 | 0 | 0 | 75
Yerevan | Արևմուտք | ք.Երևան | Տ1454-2 | 4637002111 | 75 | tap | 0 | 248 | 0 | 75
Yerevan | Արևմուտք | ք.Երևան | Տ1453-1 | 466375005 | 74 | tap | 0 | 248 | 0 | 74
Yerevan | Հյուսիս | ք.Երևան | Տ7605-3 | 5118199111 | 74 | solar | 150 | 0 | 0 | 74
Yerevan | Արևմուտք | ք.Երևան | Տ0873-1 | 4748548111 | 74 | solar | 150 | 0 | 0 | 74
Gegharkunik | Գեղամա | Գեղարքունիք | Տ2233-1 | 161159044 | 74 | tap | 150 | 248 | 0 | 74
Vayots Dzor | Արաքս | ք.Եղեգնաձոր | Տ7730-2 | 1260806111 | 96 | tap | 150 | 248 | 0 | 74
Ararat | Արաքս | ք.Արտաշատ | Տ3764-1 | 091813055 | 74 | solar | 150 | 0 | 0 | 74
Kotayk | Գեղամա | ք.Աբովյան | Տ3816-1 | 22129605111 | 74 | solar | 150 | 0 | 0 | 74
Yerevan | Հարավ | ք.Երևան | Տ0339-1 | 497242001 | 74 | solar | 150 | 0 | 0 | 74
Yerevan | Արևմուտք | ք.Երևան | Տ1061-2 | 466011005 | 74 | tap | 0 | 248 | 0 | 74
Shirak | Ղարս | Ջրառատ | Տ4124-1 | 30977057 | 74 | solar | 150 | 0 | 0 | 74
Yerevan | Հարավ | ք.Երևան | Տ0582-1 | 497264001 | 74 | solar | 150 | 0 | 0 | 74
Yerevan | Արևմուտք | ք.Երևան | Տ0457-1 | 471599005 | 74 | tap | 150 | 248 | 0 | 74
Aragatsotn | Մուսալեռ | Արտենի | Տ0432-1 | 35590015 | 101 | overload | 0 | 0 | 186 | 74
Shirak | Ղարս | ք.Արթիկ | Տ5004-1 | 311008054 | 74 | tap | 150 | 248 | 0 | 74
Yerevan | Հյուսիս | ք.Երևան | Տ1676-1 | 513294004 | 80 | overload | 0 | 0 | 186 | 74
Yerevan | Արևմուտք | ք.Երևան | Տ0960-2 | 465066007 | 74 | solar | 150 | 0 | 0 | 74
Kotayk | Գեղամա | ք.Աբովյան | Տ7936-1 | 22199207111 | 74 | solar | 150 | 0 | 0 | 74
Ararat | Արաքս | ք.Արտաշատ | Տ3760-1 | 092169055 | 73 | tap | 0 | 248 | 0 | 73
Yerevan | Հարավ | ք.Երևան | Տ0641-1 | 483623002 | 73 | solar | 150 | 0 | 0 | 73
Yerevan | Հյուսիս | ք.Երևան | Տ0542-1 | 515156004 | 131 | overload | 0 | 0 | 186 | 73
Yerevan | Հարավ | ք.Երևան | Տ0031-2 | 482891002 | 146 | overload | 0 | 0 | 186 | 73
Yerevan | Արևմուտք | ք.Երևան | Տ1060-2 | 465998005 | 73 | tap | 0 | 248 | 0 | 73
Vayots Dzor | Արաքս | ք.Ջերմուկ | Տ3205-1 | 11674063 | 73 | tap | 150 | 248 | 0 | 73
Yerevan | Արևմուտք | ք.Երևան | Տ0667-1 | 474765005 | 75 | solar | 150 | 0 | 0 | 73
Yerevan | Հարավ | ք.Երևան | Տ0118-1 | 482478002 | 124 | overload | 0 | 0 | 186 | 73
Yerevan | Արևմուտք | ք.Երևան | Տ0532-1 | 473754005 | 73 | solar | 150 | 0 | 0 | 73
Yerevan | Հյուսիս | ք.Երևան | Տ0416-1 | 513330004 | 86 | overload | 0 | 0 | 186 | 73